Dato: 27.02.2018

Surveillance at Data centre in Alvdal

We are building a Data centre at Alvdal, and we want an offer on CCTV and alarm, included assembling and cabling.

This is what we want:

- Surveillance of the entire fence

- High resolution

- Night Vision

- Alarm when there is registered movement in predefined areas at given time periods.

- Only recording when the camera has registered movement.

- Storage of recordings for 1 month

- 4 cameras inside each container, total 8 containers.

- Some cameras inside the office building.

All cabling on-site is done by Nord-Østerdal Elektroservice, and it`s preferred to use their services, but it`s also possible to manage the cabling yourself.
You are responsible of contacting Nord-Østerdal Elektroservice for prices needed for the cabling.
Whatever you choose to use Nord-Østerdal Elektroservice or do the cabling yourself, cabling shall be included in the final offer.

Blueprints of the site is attached.